BRAHMSAI

Clinical Decision Support Tool Design Document

PCT-guided antibiotic stewardship with local model-key execution, prompt-injection protection, kinetic analysis, and multi-provider LLM support.

| Product | BrahmsAI |
| --- | --- |
| Purpose | Research-only PCT biomarker decision support |
| Current build | Local FastAPI app with browser-based clinical cockpit |
| Model access | Auto-detects Gemini, OpenAI / ChatGPT, Anthropic / Claude, or OpenRouter API keys |

EXECUTIVE SUMMARY BrahmsAI is now a local-first clinical stewardship cockpit that validates a user-supplied model key, auto-detects the provider, and runs the existing PCT-guided multi-agent pipeline without storing secrets in the repository or browser persistence.

# Feature Inventory

The table below separates the newly added capabilities from the broader clinical decision-support surface already present in the application.

| Area | Feature | Design intent |
| --- | --- | --- |
| New | Model API key gate | Blurred launch screen blocks use until the key is validated by the local backend. |
| New | Provider auto-detection | Recognizes Gemini, OpenAI / ChatGPT, Anthropic / Claude, and OpenRouter key formats and selects a default model. |
| New | Provider-specific execution | Runs the four-agent stewardship pipeline against the provider associated with the entered key. |
| New | Session-only key handling | Keeps the key in browser memory only; no localStorage and no hardcoded secrets. |
| New | Provider-aware status | Displays the detected provider and model in the UI after validation. |
| Core | PCT threshold cockpit | Prominent PCT entry with live LRTI threshold band highlighting and clinical setting context. |
| Core | Kinetic tracking | Serial PCT timeline, live percent-decline calculation, and Day 4 treatment-failure warning. |
| Core | Four-agent pipeline | A1 intake, A2 clinical reasoning, A3 kinetic/context review, and A4 final report generation. |
| Core | Structured report output | Returns recommendation, rationale, next steps, warnings, override flags, metadata, and agent reasoning. |
| Safety | Prompt-injection checks | Rejects suspicious clinical notes and prepends security instructions to each system prompt. |
| Safety | Timeout and JSON validation | Each agent has timeout protection, retry-on-invalid-JSON, and final recommendation validation. |
| Ops | Structured logging and token estimates | Captures latency, estimated token use, estimated cost, and pipeline summary logs. |

# System Architecture

CURRENT PATTERN BrahmsAI remains a local-first browser application. The browser collects structured patient data and a session-only model key, while FastAPI performs key validation, model routing, agent orchestration, and report assembly.

## Runtime Flow

| Step | Stage | Behavior |
| --- | --- | --- |
| 1 | Open local UI | Safari or another browser loads http://localhost:8000/ and sees a locked, blurred workspace. |
| 2 | Validate model key | The key is sent to /api/validate-key. The backend detects provider by prefix and performs a small JSON-only model call. |
| 3 | Unlock workspace | On success, the UI hides the gate and displays the detected provider/model in the status pill. |
| 4 | Submit patient data | The unchanged clinical payload posts to /api/analyze with X-LLM-API-Key in the request header. |
| 5 | Run agents | A1-A4 execute sequentially with rate limiting, timeout handling, JSON validation, and metadata capture. |
| 6 | Render report | The result panel shows recommendation, rationale, kinetic findings, warnings, override flags, and agent reasoning. |

# New Multi-Provider Model Support

The latest build replaces a Gemini-only local key gate with provider-aware routing. The user enters one key; BrahmsAI infers the provider and runs the existing clinical pipeline on that model family.

| Key prefix | Detected provider | Default model | API route style |
| --- | --- | --- | --- |
| AIza... | Google AI Studio | gemini-2.5-flash | google-genai SDK |
| sk-... | OpenAI / ChatGPT | gpt-4o-mini | OpenAI chat completions HTTP API |
| sk-ant-... | Anthropic / Claude | claude-3-5-haiku-latest | Anthropic messages HTTP API |
| sk-or-... | OpenRouter | meta-llama/llama-4-scout:free | OpenRouter chat completions HTTP API |

DESIGN CONSTRAINT API keys identify the provider, not the user's preferred model. BrahmsAI therefore maps each provider to a conservative default model. A future settings control can expose model selection without changing the clinical payload.

# Clinical Decision-Support Features

## PCT-Guided Intake

The PCT value remains the primary hero input. Live threshold bands help users orient the case before submitting data. The UI preserves the existing backend payload fields, including vital signs, labs, risk flags, antibiotic status, serial PCT values, and clinical notes.

## Kinetic Analysis

The kinetic section is intentionally prominent because serial PCT response is a key stewardship signal. Users can enter previous measurements, see peak-to-current decline in real time, and receive a Day 4 alert when decline remains below the 80 percent response threshold.

## Report Surface

The output panel transitions from placeholder to progress state to final report. It presents recommendation, strength, patient summary, PCT interpretation, kinetic analysis, rationale, next steps, warnings, override flags, clinician review state, and collapsible agent reasoning.

# Safety, Security, and Operations

| Control | Implementation |
| --- | --- |
| Input validation | Clinical notes are screened for prompt-injection language and capped at 2,000 characters. |
| Prompt hardening | Every agent system prompt starts with a security notice that treats patient data as data only. |
| Output validation | Agent responses must be valid JSON; invalid responses trigger one strict retry. |
| Recommendation guardrail | A4 recommendations are constrained to accepted stewardship values; invalid values default to clinician_decision. |
| Timeout protection | Each model call is bounded by a 45 second timeout to avoid stuck workflows. |
| Observability | The report returns per-agent latency, token estimates, cost estimates, and model/provider metadata. |
| Local key posture | Keys are not hardcoded, not stored in localStorage, and passed only to the local backend for the active session. |

# Local Run Model

The intended local run command is executed from the project root and serves both the FastAPI API and the static UI.

LOCAL COMMAND cd /Users/fatih/Desktop/ThermoFischerGenAI python3 -m uvicorn main:app --host 0.0.0.0 --port 8000 Then open Safari at http://localhost:8000/.

## Recommended Next Iterations

| Future item | Rationale |
| --- | --- |
| Model picker | After provider detection, allow advanced users to choose a model from a short provider-specific list. |
| Session reset | Add a visible control to clear the active key and return to the locked state without refreshing. |
| Provider capability notes | Show warnings when a selected provider/model may have weak JSON-mode support or rate limits. |
| Audit export | Allow downloading the final report plus metadata as a PDF or DOCX clinical research artifact. |